## Slide 1: Data Analysis on Dual Electron Spectrometers (DES)
Fast Plasma Investigation – Magnetospheric Multi-Scale
Nicholas Shields – The Catholic University of America

## Slide 2
Magnetospheric Multi-Scale Mission
Scientific Target of Mission – Magnetic Reconnection
Notes: between two magnetic fields
2 orbits dayside and nightside/tail
10 km diffusion --- electrons demagnetized – however the region will sweep over spacecraft at speeds up to 50 km/s

## Slide 3
Fast Plasma Investigation
  Fast Plasma Investigation –
    Dual Electron Spectrometer (DES) and Dual Ion Spectrometer (DIS) measure respective distributions
    Instrument Data Processing Unit (IDPU)
Notes: 10 km diffusion --- electrons demagnetized – however the region will sweep over spacecraft at speeds up to 50 km/s

## Slide 4
Dual Electron Spectrometer (DES)
  Older models record distributions in 3 sec
  New model provides a 3D electron velocity distribution in 30 ms
    10 eV to 30,000 eV
    Combines measurements from 16 DES’s over the four spacecraft
    Measurements - angle/pixel
    Goal – develop calibration and operation of these instruments.

## Slide 5
Data Analysis on MMS/FPI Dual Electron Spectrometers (DES)
Summer Work:
Optical Parameters – Fits
  Interpolate expected energy ranges in order to produce a complete stepper table
HVPS Settling Times – DES and DIS
  Fitting
  Range change synchronization
Virtual instrument – implications and functionalities
Magnetospheric MultiScale Mission (MMS)
Fast Plasma Investigation (FPI)
Dual Electron Spectrometer (DES)
Optical Parameter Fits
Virtual Instrument
HVPS Settling Times

## Slide 6
Data Analysis on MMS/FPI Dual Electron Spectrometers (DES)
Optical Parameters – Fits
  Interpolate/Extrapolate expected values at varied energies in order to produce a complete stepper table
  Some of these parameters included:
  analyzer constant;
  anode to anode crosstalk;
  azimuth angle FWHM;
  azimuth angle offset;
  dE/E;
  gain;
  geometric factor;
  pixel to pixel crosstalk;
  scattering crosstalk;
  signal loss.

## Slide 7
Data Analysis on MMS/FPI Dual Electron Spectrometers (DES)
Notes: DEPENDENCE
pixel 0 and pixel 7 - general exponential fit over all units
Scaled per unit using the amplitude
A second order polynomial fit was done over the 3000eV data per angle per unit and then scaled to the marked energies in plot 1.

## Slide 8
Data Analysis on MMS/FPI Dual Electron Spectrometers (DES)
Notes: This map shows the geometric factor data for both heads of the FM212 unit, which should operate similarly but must be calibrated individually. Head 0/Head 1 and pixel are depicted horizontally, while the even/odd stepper tables and the four angles are displayed vertically. Notice that for either head, the geometric factor for the even and odd tables is very similar.

## Slide 9
Data Analysis on MMS/FPI Dual Electron Spectrometers (DES)
Notes: ONLY DEPENDENT ON PIXEL.
Signal Loss was fit with a Gaussian Fit. Due to some inconsistencies in the test data, we eliminated points that did not appear in multiple tests based on a standard deviation filter. If a point was removed the fit was done over an average of the two surrounding points.

## Slide 10
Data Analysis on MMS/FPI Dual Electron Spectrometers (DES)
High Voltage Power Supply (HVPS) Settling Times – DES and DIS
  Fitting
Chart: HVPS 9 DEF A
Range Change | 50 | 50
Notes: The time required for the response curve to reach and stay within a percentage of the final value

## Slide 11
Data Analysis on MMS/FPI Dual Electron Spectrometers (DES)
High Voltage Power Supply (HVPS) Settling Times
  Range change synchronization - DES
    Deflector shifts between low and high range
Chart: HVPS 9 DEF B
Range Change | 50 | 50
Chart: HVPS 9 ESA
Range Change | 50 | 50
Chart: HVPS 9 ESA
Range Change | 50 | 50
Notes:       DES – occurs ~50eV
      DIS – occurs ~60eV

## Slide 12
Data Analysis on MMS/FPI Dual Electron Spectrometers (DES)
Virtual Instrument
  VI package currently being created using Python
  Purpose
    Test possible changes to the instrument calibration before implementation
  Created a Spectrometer Fitting class that can implement fitting routines developed this summer
Future Work
  Address optical parameters for DIS
  Address range change for DIS
  Continue to develop VI
ATLAS V 421 Launch Vehicle
Launch Date: October 2014

## Slide 13
Magnetospheric Multi-Scale Mission
Thank you to:
Alex Barrie
Craig Pollock
Levon Avanov
CUA Physics Department